- Joint Implementation

- PROJECT DESIGN DOCUMENT
Draft 24/03/2006

# CONTENTS

A. 	General description of project activity

B. 	Application of a baseline methodology

C. 	Duration of the project activity / Crediting period

D. 	Application of a monitoring methodology and plan

E. 	Estimation of GHG emissions by sources

F. 	Environmental impacts

G. 	Stakeholders’ comments

## UAnnexes

Annex 1:  Contact information on participants in the project activity

Annex 2:  Information regarding public funding

SECTION A. 	General description of project activity

A.1 	Title of the project activity:

Bulgarian Small Hydro Power Plant (SHPP) portfolio

A.2.	Description of the project activity:

The project consists of a portfolio of three run of river SHPPs with a total installed capacity of 6.46 MW. The aggregated annual electrical output of the project is about 41.9 GWh. The portfolio of the three small hydro power projects comprises:

Table 1: Small hydro power plant portfolio

| Power plant | Nominal capacity | Electricity generation | Annual operating hours |
| --- | --- | --- | --- |
| Loziata SHPP | 5,156 kW | 34,040 MWh/yr | 6,602 hours/yr |
| Byala Mesta SHPP | 650 kW | 3,849 MWh/yr | 5,922 hours/yr |
| Cherna Mesta SHPP | 650 kW | 4,019 MWh/yr | 6,182 hours/yr |
| Total | 6,456 kW | 41,908 MWh/yr |  |

Loziata –The Small Hydro Power Plant Loziata is located between two irrigation Channels, the first one starts from the bottom reservoir (800,000 mP3P) of the state owned hydropower plant Krichim. The HPP Krichim is the last bottom-most stage of the Dospat-Vatcha cascade and operates in the peak time-period of the state energy consumption diagram. The water resource includes two components – first, the water volumes already utilized from HPP Krichim and the second – the available water from the four small rivers - Ustinska, Perushtenska, Pastushka and Brestovica.

The catchment areas of the rivers are located on the Northern slopes of the Rodopi Mountain and the minimum river water discharge is assessed at totally 0.024mP3P/s. The design water discharge of the HPP Krichim is 61 mP3P/s.

The SHPP Loziata is planned capacity of max 5,156 kW for energy production from a renewable energy source. Under the condition of a mean water year SHPP Loziata will generate 34,040 MWh/year.

The system of SHPP Loziata consists of the following main facilities:

- Intake facility at the main canal which consists of:

    - Retaining walls on both sides of the canal bottom

    - Intake racks

    - Intake chambers in front of the pipeline inlets and

    - Intake gates

- Two buried GRP (glass reinforced pipe) pipeline

- Powerhouse with the hydro mechanical and electrical equipment

- Horizontal Francis turbine of type FHS 1050F6 (F265)

- Synchronous three-phase horizontal generator

Project implementation schedule for SHPP Loziata

The implementation of the project for the construction of SHPP Loziata is scheduled for the period from Jun 2005 to the end of Aug 2006 for implementing of the following basic activities - design, delivery of the necessary equipment, construction works for the hydro technical equipment and installation. In the following figure a detailed time schedule is shown:

Figure 1: Project implementation schedule for SHPP Loziata

| Schedule | 2005 |  |  |  |  |  |  | 2006 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug |
| Financial closure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Design of documentation and approval |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Manufacturing of metal gates |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery of Equipment from Marvel |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Construstion of pipes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Construction of water intake |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Construction of electrical facilities |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Construction of plant building |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Commissioning of power plant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

The design of the necessary documentation for the project implementation, as well as obtaining of approval from the different municipal and governmental organizations, is envisaged for the end of Jan 2006.

According to the contract for delivery of the turbines and related equipment with the manufacturer Mavel, the delivery of the equipment is expected by April 2006. The delivery shall be implemented after the completion of the construction of the building of the plant. The delivery includes the turbines, generators, valves and the governing equipment.

The delivery of all remaining facilities, power transformers and facilities for the distribution switchgear 20 kV, and for the construction of a 20 kV line for connection to the national electricity grid and the completion of construction are expected by May 2006.

The construction works related to water intake, as well as the installation of all mechanical structures is envisaged for the period of March 2006.

The construction works related to the building of the plant are planned for the period of November 2005 – May 2006. The manufacturing of the different hydro technical equipment will be accomplished during this period.

According to the prepared schedule the commissioning tests of SHPP Loziata are expected by July 2006. The plant will be in regular operation in Aug 2006.

Byala Mesta - The SHPP Byala Mesta is planned with installed capacity of 650 kW - nominal generator output. The maximum discharge of the power plant according to the water use permit is 0.8mP3P/s. Under the condition of a mean water year SHPP Byala Mesta will generate 3,849 MWh/year.

It is foreseen that the planned SHPP Byala Mesta works as a typical run-of river power plant. The possibly best hydropower use of the varying natural river run-off at an almost constant head is planned to be performed by means of equipment of the power plant with one regulated turbine of type Pelton.

The system of SHPP Byala Mesta consists of the following main facilities:

- Intake facility

- One buried GRP pipeline

- Powerhouse with the hydro-mechanical and electrical equipment

- A short downstream canal after the tailrace

- Vertical 4-nozzle Pelton turbine with maximum output 668.8 kW type PV680 P2, 6 D4

- Asynchronous three-phase vertical generator

Project implementation schedule for SHPP Byala Mesta

The implementation of the project for the construction of SHPP Byala Mesta is scheduled for the period from July 2005 to the end of August 2006 for implementing of the following basic activities - design, delivery of the necessary equipment, construction works for the hydro technical equipment and installation. In the following figure a detailed time schedule is shown:

Figure 2: Project implementation schedule for SHPP Byala Mesta

| Schedule | 2005 |  |  |  |  |  |  | 2006 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug |
| Financial closure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Design of documentation and approval |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Manufacturing of metal gates |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery of Equipment from Marvel |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Construstion of pipes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Construction of water intake |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Construction of electrical facilities |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Construction of plant building |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Commissioning of power plant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

The design of the necessary documentation for the project implementation, as well as obtaining of approval from the different municipal and governmental organizations, is envisaged for the end of March 2006.

According to the contract for delivery of the turbines and related equipment with the manufacturer Mavel, the delivery of the equipment is expected by May 2006. The delivery shall be implemented after the completion of the construction of the building of the plant. The delivery includes the turbines, generators, valves and the governing equipment.

The delivery of all remaining facilities, power transformers and facilities for the distribution switchgear 20 kV, and for the construction of a 20 kV line for connection to the national electricity grid and completion of construction is expected by May 2006.

The construction works related to water intake, as well as the installation of all mechanical structures is envisaged for the period of May 2006.

The construction works related to the building of the plant are planned for the period of March - June 2006. The manufacturing of the different hydro technical equipment will be accomplished during this period.

According to the prepared schedule the commissioning tests of SHPP Loziata are expected by July 2006. The plant will be in regular operation in Aug 2006.

Cherna Mesta - The SHPP Cherna Mesta is planned with the installed capacity of 650 kW - nominal generator output. The maximum discharge of the power plant according to the water use permit is 0.8mP3P/s. Under the condition of a mean water year the SHPP Cherna Mesta will generate 4,019 MWh/year.

It is foreseen that the planned SHPP Cherna Mesta works as a typical run-of river power plant. The possibly best hydropower use of the varying natural river run-off at an almost constant head is planned to be performed by means of equipment of the power plant with one regulated turbine of type Pelton.

The system of SHPP Cherna Mesta consists of the following main facilities:

- Intake facility

- One buried GRP pipeline

- Powerhouse with the hydro-mechanical and electrical equipment

- Vertical 4-nozzle Pelton turbine with maximum output 668.8kW type PV680 P2, 6 D4

- Asynchronous three-phase vertical generator

Project implementation schedule for SHPP Cherna Mesta

The implementation of the project for the construction of the SHPP Cherna Mesta is scheduled for the period from August 2005 to the end of July 2006 including the following basic activities: design, delivery of the necessary equipment, construction and installation works. In the following figure a detailed time schedule is shown:

Figure 3: Project implementation schedule for SHPP Cherna Mesta

| Schedule | 2005 |  |  |  |  |  |  | 2006 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug |
| Financial closure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Design of documentation and approval |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Manufacturing of metal gates |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery of Equipment from Marvel |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Construstion of pipes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Construction of water intake |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Construction of electrical facilities |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Construction of plant building |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Commissioning of power plant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

The design of the necessary documentation for the project implementation, as well as obtaining of approval from the different municipal and governmental organizations, is envisaged for the end of March 2006.

According to the contract for delivery of the turbines and related equipment with the manufacturer Mavel, the delivery of the equipment is expected by May 2006. The delivery shall be implemented after the completion of the construction of the building of the plant. The delivery includes the turbines, generators, valves and the governing equipment.

The delivery of all remaining facilities, power transformers and facilities for the distribution switchgear 20 kV, and for the construction of a 20 kV line for connection to the national electricity grid and completion of construction is expected by May 2006.

The construction works related to water intake, as well as the installation of all mechanical structures is envisaged for the period of May 2006.

The construction works related to the building of the plant are planned for the period of March - June 2006. The manufacturing of the different hydro technical equipment will be accomplished during this period.

According to the prepared schedule the commissioning tests of SHPP Loziata are expected by July 2006. The plant will be in regular operation in Aug 2006.

Technology supplier / Guarantee / Personal training

All the machinery equipment of the three projects is delivered by the company MAVEL and has a guarantee period of 250 days. Agreements for delivery of spare parts have been signed to ensure maintenance. Instruction and training of the staff will be done by the representatives of MAVEL during the mounting process of valves for the machines.

The electrical part and the control system for each project are delivered by the company DELECTRA. Training of the plant personnel is committed with DELECTRA.

Generated electricity and cost breakdown of the SHPP portfolio

Total annual primary energy production in Bulgaria is 10,761 thousand tons of oil equivalent (2002). It is estimated that SHPP Loziata will generate 0.0272% of the annual primary energy production under the conditions of a mean-water year. Total annual hydro energy production in Bulgaria amounts to 189,000 tons of oil equivalent (2002). SHPP Loziata is going to generate 1.55% of the annual hydro energy production under the conditions of a mean-water year.

SHPP Byala Mesta will approximately generate 0.0031% of the annual primary energy production under the conditions of a mean-water year and is going to generate 0.175% of the annual hydro energy production under the conditions of a mean-water year.

SHPP Cherna Mesta will generate about 0.0032% of the annual primary energy production under the conditions of a mean water year and is going to generate 0.183% of the annual hydro energy production under the conditions of a mean water year.

The following table illustrates the forecast electricity sales from the SHPP portfolio in a mean water year. All projects are scheduled to commence operation in June 2006.

Table 2: Forecast of electricity sales of the SHPP portfolio

| Power plant | Unit | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Loziata | MWh/yr | 11,347 | 34,040 | 34,040 | 34,040 | 34,040 | 34,040 | 34,040 |
| Byala Mesta | MWh/yr | 962 | 3,849 | 3,849 | 3,849 | 3,849 | 3,849 | 3,849 |
| Cherna Mesta | MWh/yr | 1,005 | 4,019 | 4,019 | 4,019 | 4,019 | 4,019 | 4,019 |
| Total | MWh/yr | 13,314 | 41,908 | 41,908 | 41,908 | 41,908 | 41,908 | 41,908 |

The total investment costs equal Euro 6.097 million for the implementation of the SHPP portfolio. In the following table a cost breakdown of the three projects is shown:

Table 3: Cost breakdown for the SHPP portfolio

| [in Euro] | Loziata | Byala Mesta | Cherna Mesta | Total |
| --- | --- | --- | --- | --- |
| Design | 38,756 | 22,271 | 21,392 | 82,419 |
| Equipment | 2,931,687 | 625,408 | 548,774 | 4,105,869 |
| Construction | 644,000 | 534,000 | 502,774 | 1,680,774 |
| Technical Contingency | 2,500 | 3,000 | 3,000 | 8,500 |
| Interest costs | 134,642 | 43,386 | 42,276 | 220,304 |
| Total | 3,751,585 | 1,228,065 | 1,118,216 | 6,097,866 |

In the following the additional domestic and local environmental and socio-economical benefits of the SHPP portfolio are shown:

Table 4: Domestic and local benefits

| “Issue” Area | Explanation |
| --- | --- |
| Local environmental benefits | The project will not only result in a reduction in the generation of GHGs sulphur dioxide, nitrogen dioxide and dust are emitted during generation of electricity from fossil fuels. The implementation of the SHPP portfolio will generate renewable electricity and displace conventional thermal electricity production. Therefore, there is also a reduction of the mentioned gases associated. |
| Socio-economic benefits | The SHPPs implementation brings welcome investment and employment to an economically depressed part of the country. The economic problems faced by Bulgaria in the transitional period have impacted this region with unemployment rates in 2004 reported at 21%. Each of the three projects will generate 6 permanent and qualified local jobs in addition to the employment generated during the construction phase. |
| Capacity building | Small hydro power plants are important for Bulgaria to gain incomes on municipal levels and utilise the potential of hydro power in that regions. The financing problems are partly mitigated due to the revenues from JI activities and especially small hydro power plants can successfully developed as JI activities. |
| Technology transfer | The implemented technical equipment is developed and will be constructed according to the newest state of the art understanding. The technical equipment is proven technology, but small scale and micro hydro power plants have hardly been implemented in Bulgaria, because of the high risk due to the little experience with such project types and the resulting difficulties of financing. |
| Environmental Impact Assessment (EIA) | The projects are small, will all be run of river and integrated into existing infrastructure e.g. irrigation channels, so each of the three regional administrations have decided that no Environmental Impact Assessment (EIA) is necessary. |

A.3. 	Project participants:

Project Owner

Each of the projects has assigned the GHG emission reduction rights to Brestiom to allow one party to aggregate and optimize the GHG emission reduction asset. The revenues to be generated by the sale of the GHG emission reductions shall be redistributed to the project companies by Brestiom.

Contact:

Philip Fotev

Brestiom PLC,

30 – 32 General Totleben Blvd, floor 7

Sofia 1606, Bulgaria

TUfotev@cablebg.netUT

Project operator

The project proponent for the ULoziata SHPPU is Brestiom Plc with its headquarters Sofia, Bulgaria. Brestiom Plc specialises in the construction and operation of small hydro power plants. Shareholders of the company are Mashbild Ltd.(80%) and Philip Stefanov Fotev (20%).

Contact:

Philip Fotev

Brestiom PLC,

30 – 32 General Totleben Blvd, floor 7

Sofia 1606, Bulgaria

TUfotev@cablebg.netUT

The project proponent for the UByala Mesta SHPPU is the Byala Mesta Ltd. with its headquarters in the city of Sofia, Bulgaria. The main business line of Byala Mesta Ltd. is the building and operation of small hydro power plants. Shareholders of the company are Mashbild Ltd. (80%) and Luko K Ltd. (20%).

The project proponent for the Cherna Mesta SHPP is the UCherna Mesta Ltd.U with its headquarters in the city of Sofia, Bulgaria. The main business line of Cherna Mesta Ltd. is the building and operation of small hydro power plants. Shareholders of the company are Mashbild Ltd. (80%) and Vassil Kirilov Nikolov (20%).

Contact:

Mihail Todorov

Tchavdar Iliev

Directors Byala Mesta Ltd. and Cherna Mesta Ltd.

Tel.+359 2 9813829, Fax +359 2 9862756

e-mail: TUcapman@mail.orbitel.bgUT

Carbon Asset Developer

Camco International is engaged by Brestiom Plc as the Carbon Asset Developer for the SHPP portfolio.  Camco will develop the required documentation to qualify and gain approval for the project, in addition to managing the marketing and sale of the GHG emission reductions to be generated by the project.

Contact:

Camco International

James Graham

116 Burggasse, 1070 Vienna, Austria.

+44 1225 819816 or +44 7787 523143

TUjames.graham@camco-international.comUT

The Government of Bulgaria:

Mrs. Ivona Grozeva – Head of JI Projects Sector and National Focal Point on Climate Change on Prototype Carbon Fund 

Тel.: +359-2-940 6101 
Fax: +359-2-981 6610 
E-mail: TUji_grozeva@moew.government.bgUT

A.4. 	Technical description of the project activity:

A.4.1.  Location of the project activity:

A.4.1.1. Host Party(ies):

Bulgaria

A.4.1.2. Region/State/Province etc.:

Sofia Region, Blagoevgrad and Plovdiv

A.4.1.3. City/Town/Community etc:

South-west Bulgaria in the Rodopi Mountain range

A.4.1.4. Detail of physical location, including information allowing the unique identification of this project activity (maximum one page):

All three of the projects in the portfolio are located in the Rodopi and Rila Mountain range, in the south-west of Bulgaria.

Loziata SHPP is located between two irrigation Channels, the first starts from the bottom reservoir of the state owned hydropower plant Krichim. The HPP Krichim is the last bottom-most stage of the Dospat-Vatcha cascade. The water resource for the SHPP includes two components – first, the water volumes already utilized from HPP Krichim and the second – the available water from four small rivers - Ustinska, Perushtenska, Pastushka and Brestovica. The catchments of the rivers are located on the Northern slopes of the Rodopi Mountains.

The geographic coordinates of the locations of the projects are as follows:

Loziata water abstraction installations

x = 4 536 806

y = 8 602 800

Byala Mesta SHPP is located in the mountainous part of Mesta River catchment. The River Byala Mesta is the upstream section of Mesta River. The spring is located at the highest area of Rila Mountain. The mountain section of the catchment is crossed from the diversion channel Granchar. The channel Granchar transfers water to the Reservoir Belmeken, which is the main facility of the hydro-energy complex Belmeken-Sestrimo.

The geographic coordinates of the locations of the projects are as follows:

Byala Mesta water abstraction installations

B= 42 degree, 05’ 45”

L= 23 degree, 42’ 58”

Cherna Mesta SHPP is located at the mountain part of Mesta (Nestos) River catchment. The Cherna Mesta river is the main tributary of the Mesta river. The source is located at the highest area of Rila Mountain. The mountain section of the catchment is crossed from two collected channels Granchar and Djaferitca. The water is collected in the two channels and is discharged to the Belmeken reservoir.

Cherna Mesta water abstraction installations

B= 42 degree, 05’ 43”

L= 23 degree, 43’ 34”

In the following picture the locations of the three power plants are shown:

Cherna Mesta

Byala Mesta

Loziata

Figure 4: Project location of the SHPP portfolioTPPT

A.4.2. Type and category(ies) and technology of project activity:

The Bulgarian Small Hydro Power Plant portfolio project falls under the following categories:

- Renewable Electricity Generation.

- Displacement of Electricity from the National Electricity Grid.

- The Greenhouse Gas (GHG) to be reduced is Carbon dioxide (COB2B).

The Loziata SHPP is located between two irrigation channels with a difference in elevation of about 41,7 m, which gives the possibility to use this head for electricity generation. The water is conveyed through two buried pipelines into the powerhouse, where the hydro energy is converted into electrical energy by two horizontal Francis turbines (FHS 1050F6) and two synchronous three-phase horizontal generators. The total discharge per turbine is max 8 m³/s. The maximal output per turbine is 2,670kW at the net head of 37.5m. The generator is dedicated to operate parallel with the national power grid with nominal output 3000 kVA per unit at a nominal power factor of cos()=0.9 and a nominal frequency of 50 Hz. The generator efficiency is 96.5% at full load. Therefore the max electrical capacitiy of the SHPP Loziata is 5,156 kW.

Byala Mesta SHPP is a pure run-off river hydro power plant. In order to guarantee the best hydro power use at an almost constant head of the naturally varying river run-off, a regulated Pelton turbine will be used.

Following equipment will be employed:

- Vertical 4-nozzle Pelton turbine with maximum output 668.8 kW type PV680 P2, 6 D4. The maximum/minimum discharge of the turbine is 0.8 / 0.1 m3/s, respectively, with rated net head 98.0 m (-2 m to turbine axis) and rated speed 606 min-1. The expected efficiency of the turbine in the rated operation mode is 87%;

- The main electrical equipment consists of an asynchronous three-phase vertical generator for parallel operation with common power grid with rated power output 650 kW, nominal power factor cosφ = 0.8, nominal frequency 50 Hz, nominal voltage 0.4 kV and nominal speed 606 min-1;

- Butterfly valve DN 800, PN 16 with hydraulic control, auxiliary counterweight for closing and by-pass with electric motor spherical valve;

- System for turbine control, ensuring parallel operation of the generator with the energy system and technological throttle valve control. The system is designed and developed with an electronic unit for control and tuning, and a hydraulic unit for the mechanisms driving. The system for control includes also control of the upper water level, with an option for aggregate control and maximum efficiency during operation.

Cherna Mesta SHPP is a pure run-off river hydro power plant. In order to guarantee the best hydro power use at an almost constant head of the naturally varying river run-off, a regulated Pelton turbine will be used.

Following equipment will be employed:

- Vertical 4-nozzle Pelton turbine with maximum output 668.8 kW type PV680 P2, 6 D4. The maximum/minimum discharge of the turbine is 0.8 / 0.1 m3/s, respectively, with rated net head 106.56 m (-2 m to turbine axis) and rated speed 606 min-1. The expected efficiency of the turbine in the rated operation mode is 87%;

- The main electrical equipment consists of an asynchronous three-phase vertical generator for parallel operation with common power grid with rated power output 650 kW, nominal power factor cosφ = 0.8, nominal frequency 50 Hz, nominal voltage 0.4 kV and nominal speed 606 min-1;

- Butterfly valve DN 800, PN 16 with hydraulic control, auxiliary counterweight for closing and by-pass with electric motor spherical valve;

- System for turbine control, ensuring parallel operation of the generator with the energy system and technological throttle valve control. The system is designed and developed with an electronic unit for control and tuning, and a hydraulic unit for the mechanisms driving. The system for control includes also control of the upper water level, with an option for aggregate

- control and maximum efficiency during operation.

A.4.3.  Brief explanation of how the anthropogenic emissions of anthropogenic greenhouse gas (GHGs) by sources are to be reduced by the proposed project activity, including why the emission reductions would not occur in the absence of the proposed project activity, taking into account national and/or sectoral policies and circumstances:

Hydro power is a renewable zero emission energy source. Due to the negligible operating costs in comparison to construction costs of hydro power plants it would makes usually no sense in economic terms to reduce the energy output in off-peak periods. Hydro power plants are considered as low-cost and must-run power generation sources.

The three SHHPs – Loziata, Byala Mesta and Cherna Mesta - are using hydro energy to generate annually about 41.9GWh of electricity. The electricity produced will be fed to the national power grid and will displace a part of the electricity production of existing national power plants on the margin. The emission reduction of the SHPP power plant portfolio results from this partial displacement of the marginal power plants of the Bulgarian national power

In the “Green Certificates Regulation” a new feed-in tariff model is envisaged. A Tradable Green Certificate (TGC) schemeTPPT will be introduced and replaces the currently prevailing preferable price system. After implementation of the TGC scheme the electricity producers have two products – the electricity feed-in to the national grid and the green certificates, which may be sold to power producer with conventional thermal power plants. The market price of the green certificates is very unclear until the quotas are set. The setting of quotas is expected at the earliest in the end of 2006 but the commissioning of the SHPP portfolio is pointed at June 2006. These circumstances and the uncertain market for green certificates lead to a high uncertainty and a considerable financial risk for investors.

A.4.3.1. Estimated amount of emission reductions over the chosen crediting period:

In the crediting period from 2008 to 2012 the estimated amount of emission reductions of the project is 183,096 tCO2e.

A.4.4. Public funding of the project activity:

The three projects of this JI Portfolio were prepared for the EBRD Bulgaria Energy Efficiency and Renewable Energy Credit Line Support (BEERECL) Facility. EBRD provides credit line for local Banks qualifying projects using renewable energy sources.

According to Agreement C 13769 of 23.04.2004 with EBRD Bannock Consulting and EnCon Services Ltd. herein provided technical assistance to prepare the regarding REUPs for financing under BEERECL. In the following table the structure of financing is shown:

Table 5: Dept-to-equity

|  | Loziata | Byala Mesta | Cherna Mesta |
| --- | --- | --- | --- |
| Local Bank | UBB | DSK Bank | DSK Bank |
| Debt | 82.9% | 84.4% | 93.0% |
| Equity | 17.1% | 15.6% | 7.0% |

Upon the project completion and validation by an Independent Energy Expert (IEE) the qualifying borrowers receive an Incentive Payment, calculated as a percentage of the Principal amount of the approved and disbursed loan.

In the following table the amount of loan for the three power plant operators are shown:

Table 6: Loan sources

| Power plant operator company | UBB EUR | Under BEERECL |
| --- | --- | --- |
| Brestion Plc | 3,000,000 | 50 % |
| Byala Mesta Ltd. | 1,000,000 | 100 % |
| Cherna Mesta Ltd. | 1,000,000 | 100 % |

Parts of the loans will be given by Bulgarian Energy Efficiency and Renewable Energy Credit Line (BEERECL) under the EBRD. The BEERECL has been developed by the European Bank for Reconstruction and Development (EBRD) in 2004 in close co-operation with the Bulgarian Government and the European Union. The facility extends loans to participating banks for on-lending to private sector companies for industrial energy efficiency and small renewable projects.

A.4.5.  Confirmation that the small-scale project activity is not a debundled component of a larger project activity:

The SHPP portfolio itself is bundled. The project portfolio and each single project could be categorised as CDM small scale activity.

SECTION B. 	Application of a baseline methodology

B.1.	Title and reference of the approved baseline methodology applied to the project activity:

Methodology AMS-I.D “Renewable electricity generation for a grid” is applied. Applying an approved methodology according to CDM rules minimizes the baseline risk of the proposed JI project significantly.

In order to calculate the baseline emissions (9) option (a) of AMS-I.D is applicable as the National public combined margin factor has been applied that considers future development of the Bulgarian power plants. This also reduces the risks of the estimated emissions reductions. The other important parameter for the estimation of the emission reduction is the estimated amount of electricity production of the projects. As these estimations are based on long term water discharge analyses, these risks seem to be low. However, the electricity production of the projects is part of the monitoring.

B.2.	Project category applicable to the small-scale project activity:

The chosen methodology AMS-I.D is designed for grid-connected renewable electricity generation project activities. The conditions for the methodology to be applicable are respected:

- the proposed three SHPP projects generates renewable electricity to a existing grid

- the eligibility criterion of 15 MW/y is respected as the project portfolio will have a total capacity of 6.7 MW.

B.3.	Description of how the anthropogenic emissions of GHG by sources are reduced below those that would have occurred in the absence of the registered project activity:

The baseline scenario for the SHPP Portfolio is the continuing operation of existing and future power plants in the Bulgarian power grid without the Loziata, Byala Mesta and Cherna Mesta SHPP to cover the current and future electricity demand of Bulgaria.

In the project scenario the current and future electricity demand of Bulgaria is provided by the existing and future power plants including the electricity generation of the three SHPPs.

Hydro power is a renewable zero emission energy source. Due to the negligible operating costs of hydro power plants it would make no sense in economic terms to reduce the energy output in off-peak periods. Therefore, hydro power plants are considered as low-cost and must-run power generation.

The electricity produced by the SHPP will partially displace electricity production of existing national power plants on the margin. The emission reduction of the SHPP portfolio results from this partial displacement of marginal power plants.

Additionality

The following categories of barriers shall evidence why the proposed project is additional.

I) investment barrier,

II) technological barrier,

III) prevailing practice and

IV) other barriers such as institutional barriers or limited information, environmental influences (e.g. flooding)

I)	Bulgaria is an economy in transition and project developers have limited access to commercial long term financing for renewable energy projects in Bulgaria. Commercial loans are hardly accessible because of high interest rates and short tenures. Additional subsidies are needed to tackle the undercapitalisation of Bulgarian companies and to provide the requested share of security. The selling of Emission Reduction Units enables project developer to provide securities to the bank and improves the feasibility of the project.

For the several projects REUP (Rational Energy Utilisation Plan) documents (REUP No. 24, 33 and 34) were prepared to present the projects to the local banks to request financial support.  The REUP's make a clear case that Carbon revenues will be pursued and are part of the projects to get subsidies and loans for the project portfolio. The three projects of the portfolio were successfully financed by the local banks based on the prepared REUP's, therefore Carbon revenues contributed to the decision. Furthermore, the investors were aware of the Carbon revenues. This is demonstrated by the inclusion of the Carbon revenues in the REUPs. We can therefore make a strong statement that Carbon revenues contributed to the project developers decisions to proceed and develop the projects. Therefore they are additional.

II)	In Bulgaria the liberalisation process of the electricity sector has commenced. Over 18.9% of the market had been opened by the end of 2003. Further opening steps are envisaged in 2006 and the full liberalisation is expected to be finished in July 2007. New price setting mechanisms became necessary with the liberalisation process. Currently, the electricity price in Bulgaria is determined in two ways - regulated prices by the State Energy Regulation Commission and freely bilaterally negotiated prices under consideration of the electricity trading rules. In the “Green Certificates Regulation” a new feed-in tariff model is envisaged. A Tradable Green Certificate (TGC) scheme will be introduced and replaces the currently prevailing preferable price system. The current price for electricity fed to the national power grid is about € 40.9/MWhTPPT. After implementation of the TGC scheme the electricity producers have two products – the electricity fed to the national grid and the green certificates, which may be sold to power producer with conventional thermal power plants. The price for the electricity fed in the national grid will be considerably reduced with the new feed-in tariff.

The setting of quotas is expected at the earliest in the end of 2006 but the commissioning of the SHPP portfolio is forecast for June 2006. This circumstance and the uncertain market for green certificates as well as the decrease of feed-in tariff lead to a high uncertainty and a considerable financial risk for investors. By the introduction of green certificates, it is likely that the generation of renewable energy will receive a market price. Prediction of the market price is unsafe, so any cash flow resulting from the sale of green certificates is uncertain. For development of new renewable energy projects, this is an important barrier. Revenues from ERUs help to overcome this barrier.

III)	Thermal power plants are prevailing in the Bulgarian energy supply system due to the most experience in that sector. In the following chart the sources for power generation of the Bulgarian national grid is shown:

Figure 5: Power generation structure in BulgariaTPPT

In 2004 52% of the Bulgarian electricity demand was generated by conventional thermal power plants. Only 8% of the energy demand was generated by hydro power.

There is a lack of experience with small hydro power plants. Project developers have little experience in implementing such projects in the Bulgarian national power grid. Therefore, small scale hydro power projects are considered risky by the government and the banks, despite of the good potential as an energy source. The marginal share of small hydro power energy sources in the national power grid reflects the high risk for these project types. In the following table the hydroelectric generation facilities of Bulgaria are shown:

Table 7: Hydroelectric Generating Facilities in Bulgaria

| Power Station | River | Capacity (MWe) | Cascade |
| --- | --- | --- | --- |
| Belmeken | Cherna Mesta | 375 | Belmeken-Sestrimo-Chiara |
| Sestrimo | Cherna Mesta | 240 |  |
| Momina Klisura | n/a | 120 |  |
| Chaira (pumped storage *) | Cherna Mesta | 720 |  |
| Teshel | Vacha | 60 | Vacha |
| Devin | Vacha | 80 |  |
| Tsankov Kamak | Vacha | 80 |  |
| Anton Ivanovtsi | Vacha | 160 |  |
| Vacha II | Vacha | 14 |  |
| Krichim | Vacha | 80 |  |
| Vacha I | Vacha | 7 |  |
| Batak | Batak | 40 | Batak |
| n/a | Batak | 125 |  |
| n/a | Batak | 66 |  |
| n/a | Arda | 106 | Arda |
| n/a | Arda | 60 |  |
| n/a | Arda | 108 |  |
| Beli Iskar | Beli Iskar | 17 | Iskar |
| Mala Tsarkva | Levi Iskar | 8 |  |
| Simeonovo | Iskar | 6 |  |
| Pasarel | Iskar | 32 |  |
| Kokaliane | Iskar | 22 |  |
| Popina Laka | Sandanska Bistritsa | 21 | Sandanska Bistritsa |
| Lilianovo | Sandanska Bistritsa | 20 |  |
| Sandanski | Sandanska Bistritsa | 14 |  |
| Pirin | Pirinska Bistritsa | 21 | Pirinska Bistritsa |
| Spanchevo | Pirinska Bistritsa | 28 |  |
| Other hydroelectric | n/a | 147 | n/a |

n/a - not available or not applicable
note: Tsankov Kamak facility still in design/construction phase

IV)	The primary barriers within the institutional and regulatory framework are the unclear process, sudden and unsubstantiated changes to the legal process, and timing for completing licenses and permits. The existing feed-in tariff structure will be replaced by a system of green certificates. All of these issues amount to enough (financial) uncertainty to deter many project developers from starting small-scale energy projects and financial institutions from supporting project that choose to do so.

The time frame for the legal documentation required to develop small renewable energy projects has proven to be more than two years for each project, which can be marked as a further barrier.

In recent years environmental influences play a more and more decisive role for the construction of SHPP. Especially flooding menaced SHPP in the past which involves unscheduled stops (for months), resulting in loss of profit and possible damages.

Therefore it must be seen as an additional barrier for the implementation of new facilities in these regions.

Other barriers for the realisation of such projects in Bulgaria is lack of awareness on technologies for generation of renewable energy and lack of successful example, projects, demonstrating for both possible investors and business that these types of projects can be implemented successfully in the country.

Conclusion

The predominantly role of thermal and nuclear sources for the production of electricity, as well as the combination of lack of access to finance, institutional and regulatory barriers, the lack of experience in SHPP and the risk of environmental influences, clearly demonstrate that the proposed SHPP-project is additional and therefore not the baseline scenario.

The Bulgarian economy currently offers poor access to commercial long term financing, high interest rates and short tenures for renewable energy projects.

The approval of the JI project portfolio and the resulting additional revenues in hard currency derived from the project will mitigate financial risk, reduce inflation and exchange rate risk and will considerably shift the potential of the project. Additionally, the total revenue of electricity production is very unsure because of the envisaged introduction of the Tradable Green Certificate scheme. The revenues of the electricity production are the only income for the investors without JI revenues. Due to the big uncertainties according to the future feed-in tariff a major risk for investors and project developers is associated with the project and therefore, the revenues from JI are taken into account in a very early state of project development. Subsequently, the project is equivalent to the additionalitiy criteria for JI projects.

B.4.	Description of how the definition of the project boundary related to the baseline methodology selected is applied to the project activity:

As referred to in Appendix B for small-scale project activities, the project boundary for a small scale hydropower project that provides electricity to a grid encompasses the physical, geographical site of the renewable generation source. For the proposed projects this includes emissions from activities that occur at the project locations. The system boundary for the proposed projects is defined as the national grid in Bulgaria. The project boundary for the baseline will include all the direct emissions, being the emissions related to the electricity produced by the facilities and power plants to be replaced. This involves emissions from displaced fossil fuel use at power plants. Conforming to the guidance and rules for small scale project activities, the emissions related to production, transport and distribution of the fuel used for the power plants in the baseline are not included in the project boundary as these do not occur at the physical and geographical site of the project. For the same reason the emissions related to the transport are also excluded from the project boundary.

Furthermore the boundary is applied to the project activity by considering:

- reduction of emissions from thermal plants supplying the national electric grid

- methane emissions from flooding to create the reservoir.

B.5.	Details of baseline and its development:

The PDD was prepared by KWI Managegment Consultants GmbH and CAMCO International

Contact:

Manfred Stockmayer

KWI Management Consaltants GmbH

TUms@kwi.atUT

Camco International

James Graham

116 Burggasse, 1070 Vienna, Austria.

+44 1225 819816 or +44 7787 523143

TUjames.graham@camco-international.comUT

The Bulgarian baseline study of Joint Implementation projects in the Bulgarian energy sector (Link: TUhttp://www.moew.government.bg/recent_doc/international/climate/carbon_emission_joint.pdfUT) was elaborated by NEK EAD and published by the Bulgarian Ministry of Environment and Water.

TUhttp://www.moew.government.bg/UT.

The methodology has been applied in context of the project activity by calculating the baseline emissions by multiplying the renewable generated electricity with an emission coefficient (measured in tCOB2Be/MWh) calculated in a transparent and conservative manner. The emission coefficient (emission factor) was determined in the  “BASELINE STUDY OF JOINT IMPLEMENTATION PROJECTS IN THE BULGARIAN ENERGY SECTOR. CARBON EMISSION FACTOR” (TUhttp://www.moew.government.bg/recent_doc/international/climate/carbon_emission_joint.pdfUT) published by Bulgarian Ministry of Environment and Water (TUhttp://www.moew.government.bg/international/conventions/climate/joint_e_main.htmlUT).

In order to apply conservative emission factors the lower emission factors of the “Maximum Demand Forecast” with “included HPP” have been applied.

SECTION C. 	Duration of the project activity / Crediting period

C.1	Duration of the project activity:

C.1.1.	Starting date of the project activity:

The start of the project activity is in June 2006.

C.1.2.	Expected operational lifetime of the project activity:

The operational lifetime of run-of-river hydropower plants is expected to be 20 years.

C.2	Choice of the crediting period and related information:

C.2.1.	Renewable crediting period

n.a.

C.2.2.	Fixed crediting period:

C.2.2.1.		Starting date:

The crediting period for JI is from 01/01/2008 to 31/12/2012. Prior to this date the project (with Government Approval) seek to generate and sell Assigned Amount Units from the date of commissioning (expected to be June 2006).

C.2.2.2.		Length:

ERU´s 		from 01/01/2008 to 31/12/2012

AAU´s		from 01/06/2006 to 31/12/2007

SECTION D. Application of a monitoring methodology and plan

The Monitoring Plan (MP) provides a practical framework for the collection and management of project performance data, which will be used for the verification of actual emission reductions generated. Verification is the periodic auditing of monitoring results by a third party, the assessment of achieved emission reductions. This MP does not contain specific guidelines on emission reduction auditing and verification, but it provides sufficient detail on the project structure, the proposed data to be monitored and relevant operational issues, to allow an independent verifier to develop suitable auditing and verification procedures for the SHPP portfolio JI project.

As discussed in Section B the Bulgarian Ministry of Economy and Energy  is developing a national baseline methodology and is going to update the Bulgarian emission values of the ERUPT programme. All project developer of JI projects are obliged to use the new factors for their calculation of emission reductions. These new Bulgarian emission factors are going to be published in the first half of 2006 and they will be used for annual verification of emission reductions of this SHPP portfolio JI project.

D.1.	Name and reference of approved monitoring methodology applied to the project activity:

The project uses the approved monitoring methodology ASM-I.D “Renewable electricity generation for a grid”.

D.2.	Justification of the choice of the methodology and why it is applicable to the project activity:

The chosen methodology ASM-I.D is designed for grid-connected renewable power generation project activities and applies to all proposed HP Projects. Monitoring consists of metering the electricity generated by the renewable technology.

D.3. Data to be monitored

Table 8: Data to be collected to monitor emissions

| D.2.2.1. Data to be collected in order to monitor emissions from the project activity, and how this data will be archived: |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ID number (Please use numbers to ease cross-referencing to table D.3) | Data variable | Source of data | Data unit | Measured (m), calculated (c), estimated (e), | Recording frequency | Proportion of data to be monitored | How will the data be archived? (electronic/ paper) | Comment |
| 1 | GENLy, | Measuring device of the power plant | MWh | (m) | monthly | 100% | Electronic | The read-off intervals are defined by the public supplier but for the calculation of emission reductions the data have to be read-off at least once a month. The measurement device meters the net electricity production. |
| 2 | GENBy, | Measuring device of the power plant | MWh | (m) | monthly | 100% | Electronic | The read-off intervals are defined by the public supplier but for the calculation of emission reductions the data have to be read-off at least once a month. The measurement device meters the net electricity production. |
| 3 | GENCy | Measuring device of the power plant | MWh | (m) | monthly | 100% | Electronic | The read-off intervals are defined by the public supplier but for the calculation of emission reductions the data have to be read-off at least once a month. The measurement device meters the net electricity production. |

A template for reporting this data is shown in the table below. This template is prepared for every project of the portfolio and is part of the monitoring plan.

|  | General Data |  | Name | Telephone | Emailadress |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  | input data |
|  | Prepared by |  |  |  |  |  |  |  |  | calculation |
|  | Approved by |  |  |  |  |  |  |  |  | default value |
|  | A |  | B | C | D | E | F | G | H | I |
| 1 |  |  |  |  |  | first commitment period |  |  |  |  |
| 2 | Electricity generation |  |  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 |
| 3 | January |  | [MWh] |  |  |  |  |  |  |  |
| 4 | February |  | [MWh] |  |  |  |  |  |  |  |
| 5 | March |  | [MWh] |  |  |  |  |  |  |  |
| 6 | April |  | [MWh] |  |  |  |  |  |  |  |
| 7 | May |  | [MWh] |  |  |  |  |  |  |  |
| 8 | June |  | [MWh] |  |  |  |  |  |  |  |
| 9 | July |  | [MWh] |  |  |  |  |  |  |  |
| 10 | August |  | [MWh] |  |  |  |  |  |  |  |
| 11 | September |  | [MWh] |  |  |  |  |  |  |  |
| 12 | October |  | [MWh] |  |  |  |  |  |  |  |
| 13 | November |  | [MWh] |  |  |  |  |  |  |  |
| 14 | December |  | [MWh] |  |  |  |  |  |  |  |
| 15 | Total |  | [MWh/a] | =Sum(C3:C14) | =Sum(D3:D14) | =Sum(E3:E14) | =Sum(F3:F14) | =Sum(G3:G14) | =Sum(H3:H14) | =Sum(I3:I14) |
| 16 | Emission factor |  | [tCOB2B / MWh] | 1,091 | 1,095 | 1,006 | 0,888 | 0,850 | 0,834 | 0,791 |
| 17 | Total emission reduction |  | [tCOB2B] | =C15*C16 | =D15*D16 | =E15*E16 | =F15*F16 | =G15*G16 | =H15*H16 | =I15*I16 |

D.4	Quality explanation of how quality control (QC) and quality assurance (QA) procedures are undertaken:

In order to establish and assure the necessary Quality assurance and Quality control procedures the following management structures and procedures will be introduced:

The measuring devices have to be implemented in accordance with the official “Electricity Metering Rules” and have to comply with the technical and metrological requirements, defined by the “Regulation for Metering Devices. The devices have to undergo regular inspection and supervision under the “Metering Law” and the “Regulation for Metering Devices”.

The measuring instruments are regularly read off by an employee of the Brestiom Plc, the Byala Mesta Ltd and the Cherna Mesta Ltd. The read-off intervals are defined by the public supplier but to avoid data losses the data will be read-off every month. The recorded data have to be archived until 2014 for JI project purposes. On the basis of the read off data the Brestiom Plc, the Byala Mesta Ltd and the Cherna Mesta Ltd will prepare regularly invoices for the public provider - the purchaser of the generated electricity.

Public providers of the electricity system are obliged by law to purchase the electricity produced by renewable energy sources (Article 159 of the energy law). The public provider as a party with opposing interests to the Brestiom Plc, the Byala Mesta Ltd and the Cherna Mesta Ltd will pay close attention to the correct operation of the measurement devices and the correct measuring values. In the following the monthly read off process and control procedure is shown:

Figure 6: Control procedure of the parties

The installed metering devices will meter the net electricity production of the SHPPs. In the case that a measurement device drops out, it will be replaced as soon as possible by a new one. The replacement of the measurement device will be performed under the supervision of the local purchase and in accordance with the official “Electricity Metering Rules”.

D.5	Please describe the operational and management structure that the project operator will implement in order to monitor emission reductions and any leakage effects, generated by the project activity

In January of each year in the period 2006 to 2012 the 3 operators of the three power plants shall start with their preparation for the verification of the projects. They shall compare and control invoices and payment documents. Afterwards they shall calculate the emission reductions by entering the generated electricity into the workbook. A monitoring report including the workbook and copies of the invoices and payment documents shall be sent to the verifier. The verifier will do a pre-check of the documents and arrange an audit. The operators shall facilitate the audit through providing auditors with all the required information, before, during and, in the event of queries, after the audit. Therefore they shall fully co-operate with the auditors and instruct his staff and management to be available for interviews and respond honestly to all audit questions.

Figure 7: Verification procedure

The daily operation of the SHPPs is done by local staff. At each of the project sites one plant manager and additional 2 to 4 persons will be employed at each site. The plant manager is responsible for daily operating and also monitoring the power plant. The staff will do shift work. This ensures a rapid reaction by disturbances.

D.6 Name of person/entity determining the monitoring methodology:

The PDD was prepared by KWI Managegment Consultants GmbH and CAMCO International

Contact:

Manfred Stockmayer

KWI Management Consaltants GmbH

TUms@kwi.atUT

Camco International

James Graham

116 Burggasse, 1070 Vienna, Austria.

+44 1225 819816 or +44 7787 523143

TUjames.graham@camco-international.comUT

SECTION E. 	Estimation of GHG emissions by sources

E.1.	Formulae used used

E.1.1	Selected formulae as provided in appendix B

The baseline emissions were calculated in accordance with methodology AMS-I.D for small scale CDM projects. Thus, the baseline emissions by multiplying the renewable generated electricity with an emission coefficient (measured in tCOB2Be/MWh) calculated in a transparent and conservative manner. The Bulgarian emission factors where calculated in a National Baseline study that is published by the Bulgarian ministry of Environment and Water. In order to apply a conservative bias the emission factors of the “Maximum demand Forcast” including HPP are used to calculate the baseline emissions. Therefore the baseline emissions are as follows:

E.1.2	Selected formulae when not provided in appendix B

n.a.

E.2. 	Table providing values obtained when applying formulae above:

The emission reductions for 2006 are predicted in a conservative bias considering delays for regular operation of the 3 power plants.

Table 9: Estimated baseline emissions

|  | Unit | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Electricity generation |  |  |  |  |  |  |  |  |
| Loziata | MWh/yr | 11,347 | 34,040 | 34,040 | 34,040 | 34,040 | 34,040 | 34,040 |
| Byala Mesta | MWh/yr | 962 | 3,849 | 3,849 | 3,849 | 3,849 | 3,849 | 3,849 |
| Cherna Mesta | MWh/yr | 1,005 | 4,019 | 4,019 | 4,019 | 4,019 | 4,019 | 4,019 |
| Electricity generation total | MWh/yr | 13,314 | 41,908 | 41,908 | 41,908 | 41,908 | 41,908 | 41,908 |
| Emission Factors | tCOB2B/MWh | 1,091 | 1,095 | 1,006 | 0,888 | 0,850 | 0,834 | 0,791 |
| Baseline emissions |  |  |  |  |  |  |  |  |
| Loziata | tCOB2B/yr | 12,380 | 37,274 | 34,244 | 30,228 | 28,934 | 28,389 | 26,926 |
| Byala Mesta | tCOB2B/yr | 1,050 | 4,215 | 3,872 | 3,418 | 3,272 | 3,210 | 3,045 |
| Cherna Mesta | tCOB2B/yr | 1,096 | 4,401 | 4,043 | 3,569 | 3,416 | 3,352 | 3,179 |
| Baseline emissions total | tCOB2B/yr | 14.526 | 45.890 | 42.159 | 37.215 | 35.622 | 34.951 | 33.150 |

Since, the proposed project activities are run-of-the river hydroelectric projects that will not expand existing reservoirs; no anthropogenic emissions by sources of greenhouse gases within the project boundary were identified.

Table 10: Estimated direct project emissions

|  | Unit | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Loziata | tCOB2B/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Byala Mesta | tCOB2B/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Cherna Mesta | tCOB2B/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Project emissions | tCOB2B/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

The project proponents identified no anthropogenic greenhouse gases by sources outside the project boundary that are significant, measurable and attributable to the project activity. Hence, no leakage is considered from the project activity. In addition the equipment used is not transferred from another project activity. Hence, no leakage calculation is required.

Table 11: Estimated project emission leakages

|  | Unit | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Loziata | tCOB2B/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Byala Mesta | tCOB2B/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Cherna Mesta | tCOB2B/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Leakages | tCOB2B/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

Table 12: Estimated emission reductions

|  | Unit | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Baseline emissions |  |  |  |  |  |  |  |  |
| Loziata | tCOB2B/yr | 12,380 | 37,274 | 34,244 | 30,228 | 28,934 | 28,389 | 26,926 |
| Byala Mesta | tCOB2B/yr | 1,050 | 4,215 | 3,872 | 3,418 | 3,272 | 3,210 | 3,045 |
| Cherna Mesta | tCOB2B/yr | 1,096 | 4,401 | 4,043 | 3,569 | 3,416 | 3,352 | 3,179 |
| Baseline emissions total | tCOB2B/yr | 14,526 | 45,890 | 42,159 | 37,215 | 35,622 | 34,951 | 33,150 |
| Project emissions | tCOB2B/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Leakages | tCO2/yr | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Emission reductions |  |  |  |  |  |  |  |  |
| Loziata | tCOB2B/yr | 12,380 | 37,274 | 34,244 | 30,228 | 28,934 | 28,389 | 26,926 |
| Byala Mesta | tCOB2B/yr | 1,050 | 4,215 | 3,872 | 3,418 | 3,272 | 3,210 | 3,045 |
| Cherna Mesta | tCOB2B/yr | 1,096 | 4,401 | 4,043 | 3,569 | 3,416 | 3,352 | 3,179 |
| Emission reductions | tCOB2B/yr | 14,526 | 45,890 | 42,159 | 37,215 | 35,622 | 34,951 | 33,150 |

Total emission reductions:

Overall (2006 – 2012): 	243,513 tCOB2B

Pre-Kyoto period (2006 – 2007): 	60,416 tCOB2B

Kyoto period (2008 – 2012): 	183,097 tCOB2B

SECTION F. 	Environmental impacts

There is no Environmental Impact Assessment necessary due to the small scale of the three projects and the negligible environmental impacts of power plants because of the usage of already built infrastructure e.g. irrigation channels.

Positive environmental impacts result from the partially displacement of common thermal power stations and the related reduction of sulphur dioxide, nitrogen dioxide and dust emissions of fossil fuels. The amount of released emissions in terms of generated electricity equals about 0.012tSOB2B/MWh, 0.001tNOB2B/MWh and 0.0007tBDustB/MWhTPPT.

Table 13: Additional emission reductions of the SHPP portfolio

|  | Unit | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Specific emissions of power plants |  |  |  |  |  |  |  |  |  |
| Sulphur dioxide | t/MWh | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 | 0.012 |  |
| Nitrogen dioxide | t/MWh | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 |  |
| Dust | t/MWh | 0.0007 | 0.0007 | 0.0007 | 0.0007 | 0.0007 | 0.0007 | 0.0007 |  |
| Generated electricity of the portfolio | MWh/yr | 13,314 | 41,908 | 41,908 | 41,908 | 41,908 | 41,908 | 41,908 | 264,762 |
| Total emission reduction |  |  |  |  |  |  |  |  |  |
| Sulphur dioxide | t/yr | 159.77 | 502.90 | 502.90 | 502.90 | 502.90 | 502.90 | 502.90 | 3,177.17 |
| Nitrogen dioxide | t/yr | 13.31 | 41.91 | 41.91 | 41.91 | 41.91 | 41.91 | 41.91 | 264.77 |
| Dust | t/yr | 9.32 | 29.34 | 29.34 | 29.34 | 29.34 | 29.34 | 29.34 | 185.36 |

On the basis of these figures the three small hydro power plants will reduce emissions of electricity production by about 502.9 tons sulphur dioxide, 41.91 tons nitrogen dioxide and 29.34 tons dust annually. The total emission reduction of the power plant portfolio equals 3,177.17 tons sulphur dioxide, 264.77 tons nitrogen dioxide and 185.36 tons dust for the period 2006 to 2012.

F.1.	Documentation on the analysis of the environmental impacts, including transboundary impacts:

The project activity is not associated with transboundary environmental impacts.

The projects comply with National Bulgarian Environmental Standards. According to the current Bulgarian legislation, the construction, operation and location of the SHPP should conform to the environmental protection law and standards. The laws and ordinances to which it should correspond are:

- Environment Protection Act (State Gazette, No. 91/25.09.2002.);

- The Waters Act (State Gazette, No. 67/27.07.1999);

- Forest Act (State Gazette No. 125/1997);

- Protected Territories Act (State Gazette No. 133/1996 supplemented in No. 78/2000);

- Biodiversity Act (State Gazette, No. 77/09.08.2002)

- Waste Management Act (State Gazette, No. 86/30.09.2003);

- Air Purity Act (State Gazette, No. 45/28.05.1996);

- Soil Protection From Pollution Act (State Gazette, No. 84/1963 revised and supplemented State Gazette, No. 113/99);

- Ordinance No. 26 for re-cultivation of damaged terrains, improvement of low productivity land, take away and utilisation of the humus layer.

- Ordinance No. 9 for technical exploitation of electric power plants and networks (State Gazette, No. 72 from 19.08.2004).

ad 1) Environment Protection Act (State Gazette, No. 91/25.09.2002.)

Losziata

The Ministry of Environmental Protection and Water (MoEW) - the Regional Inspection of Environment Protection and Water (RIEPW) - Plovdiv with Ruling No. II-208-PR/2004 has decided, that there are motives, according to which the SHPP Loziata is not subject to an EIA. According to the same Ruling, “the impacts upon the soil, flora, fauna and surface water during the site construction will be minimum”. Besides, the investment project does not affect protected territories, habitats, wetlands and monuments of culture by law. The construction and the operation of the hydro plant will not affect the nearby agricultural lands.

Byala Mesta

The investment project for the SHPP Byala Mesta construction is activity, within the scope of the requirements of Appendix Nº. 2, p. 3 of the EPA. The procedure for assessment of the necessity for implementation of an EIA of the SHPP Byala Mesta project is carried out in accordance with the requirements of the EPA.

Cherna Mesta

The investment project for the SHPP Cherna Mesta construction is activity, within the scope of the requirements of Appendix Nº. 2, p. 3 of the EPA. The procedure for assessment of the necessity for implementation of an EIA of the SHPP Cherna Mesta project is carried out in accordance with the requirements of the EPA.

ad 2) The Waters Act (State Gazette, No. 67/27.07.1999)

Losziata

The MoEW - Basin Division East Aegian Sea Region, the city of Plovdiv, has issued a permission for water usage No 003601/31.03.2005 has been issued (in conformity with article 42 & 50 of the Water Act) for 10 years, with maximum discharge 16 m3/sec, water limit 330 million m3/year (for average humid year). The borrower will assure an annual discharge for ecological needs of 1.8 m3/sec for the normal operation of the eco-systems around the Vidima river bed, thus meeting the requirements of Art. 116 and Art. 117 of this law.

Byala Mesta

The MEPW - Basin Division Zapadnobelomorski Region, the city of Blagoevfrad, permission for water usage Nº 400207-1/20.05.2005 has been issued (in conformity with article 42 & 50 of the Water Act) for 7 years, with Qbuilt= 0,8 m3/sec, water limit V= 18.31 million m3/year (for average humid year). The borrower will assure an annual discharge of Qeco= 52 1/sec for the normal operation of the eco-systems around the Byala Mesta riverbed, thus meeting the requirements of Art. 116 and Art. 117 of this law.

Cherna Mesta

The MEPW - Basin Division Zapadnobelomorski Region, the city of Blagoevfrad, permission for water usage Nº 400208-1/20.05.2005 has been issued (in conformity with article 42 & 50 of the Water Act) for 7 years, with Qbuilt= 0,8 m3/sec, water limit V= 20,20 million m3/year (for average humid year). The borrower will assure an annual discharge of Qeco= 80 1/sec for the normal operation of the eco-systems around the Cherna Mesta riverbed, thus meeting the requirements of Art. 116 and Art. 117 of this law.

ad 3) Forest Act (State Gazette No. 125/1997)

Losziata

The SHPP Loziata will be constructed outside the forest fund. Hence it does not come under the articles of the Forest Act.

Byala Mesta

The SHPP Byala Mesta will be constructed outside the forest fund. Hence it does not come under the articles of the Forest Act.

Cherna Mesta

The SHPP Cherna Mesta will be constructed outside the forest fund. Hence it does not come under the articles of the Forest Act.

ad 4) Protected Territories Act (State Gazette No. 133/1996 supplemented in No. 78/2000)

Losziata

The RIEPW - Plovdiv with Ruling No. II-208-PR/2004 has decided, that there are motives, according to which the SHPP Loziata does not affect protected by law territories and habitats.

Byala Mesta

The RIEPW - Blagoevgrad with Minutes Nº 32-PR 2004 has decided, that there are motives, according to which the SHPP Byala Mesta does not affect protected by law territories and habitats.

Cherna Mesta

The RIEPW - Blagoevgrad with Minutes Nº 35-PR 2004 has decided, that there are motives, according to which the SHPP Cherna Mesta does not affect protected by law territories and habitats

ad 5) Biodiversity Act (State Gazette, No. 77/09.08.2002)

Losziata

According to RIEPW - Plovdiv resolution (Ruling No. II-208-PR/2004):

      - The impacts upon flora and fauna during the SHPP Loziata construction and operation will be minimal.

      - The SHPP Loziata investment project does not affect protected wetlands and monuments of culture.

Byala Mesta

According to RIEPW - Plovdiv resolution (Ruling No. II-208-PR/2004):

      - The impacts upon flora and fauna during the SHPP Byala Mesta construction and operation will be minimal.

      - The SHPP Byala Mesta investment project does not affect protected wetlands and monuments of culture.

Cherna Mesta

According to RIEPW – Blagoevgrad resolution (No. 35-PR 2004):

      - The impacts upon flora and fauna during the SHPP Cherna Mesta construction and operation will be minimum.

      - The SHPP Cherna Mesta investment project does not affect protected wetlands and monuments of culture.

ad 6) Waste Management Act (State Gazette, No. 86/30.09.2003)

Losziata

According to the same decision of RIEPW - Plovdiv “Usage or generation of either construction waste or hazardous waste is not expected during the hydro plant construction”.

Byala Mesta

According to the same decision of RIEPW - Blagoevgrad “Usage or generation of either construction waste or hazardous waste is not expected during the hydro plant construction..

Cherna Mesta

According to the same decision of RIEPW – Blagoevgrad “Usage” or generation of either construction waste or hazardous waste is not expected during the hydro plant construction”.

ad 7) Air Purity Act (State Gazette, No. 45/28.05.1996)

Losziata

There want be any harmful gasses emitted to the atmosphere, during the SHPP Loziata construction and operation. Moreover, emissions of harmful gasses such as CO2 and others described above will be saved during the plant operation. Therefore, the construction and operation of SHPP Loziata does not come under the influence/impact of this act, but contributes to the decrease of ozone depletion gases.

Byala Mesta

There want be any harmful gasses emitted to the atmosphere, during the SHPP Byala Mesta construction and operation. Moreover, emissions of harmful gasses such as CO2 and others described above will be saved during the plant operation. Therefore, the construction and operation of SHPP Byala Mesta does not come under the influence/impact of this act, but contributes to the decrease of ozone depletion gases.

Cherna Mesta

There will be no harmful gasses emitted to the atmosphere, during the SHPP Cherna Mesta construction and operation. Moreover, emissions of harmful gasses such as CO2 and others described in chapter 6 of the present report will be saved during the plant operation. Therefore, the construction and operation of SHPP Cherna Mesta does not come under the influence/impact of this act, but contributes to the decrease of ozone depletion gases.

ad 8) Soil Protection From Pollution Act (State Gazette, No. 84/1963 revised and supplemented State Gazette, No. 113/99)

Losziata

According to RIEPW - Plovdiv resolution (Minutes No. II-208-PR/2004) the impacts upon the soil during the SHPP Loziata construction will be minimal.

Byala Mesta

According to RIEPW - Blagoevgrad resolution (Minutes No 32-PR 2004) the impacts upon the soil during the SHPP Byala Mesta construction will be minimal.

Cherna Mesta

According to RIEPW - Blagoevgrad resolution (Minutes No 35-PR 2004) the impacts upon the soil during the SHPP Cherna Mesta construction will be minimum.

ad 9) Ordinance No. 26 for re-cultivation of damaged terrains, improvement of low productivity land, take away and utilisation of the humus layer

Losziata

Art.11 of this ordinance, which refers to the environmental protection and concerns the SHPP Loziata construction, states that routes of derelict channel, routes, etc. are subject to rehabilitation.

During the construction activities, roads from the National Road Infrastructure will be used. Hence there is no need of construction of temporary roads for the equipment transportation. The pressure pipeline will be built and buried in a trench along the riverbank up till the water intake of the SHPP. Thereafter, the land will be re-cultivated and the requirements of this ordinance met. More small –size construction equipment will be used which is even more beneficial for the environment.

Byala Mesta

Art.11 of this ordinance, which refers to the environmental protection and concerns the SHPP Byala Mesta construction, states that routes of derelict channel, routes, etc. are subject to rehabilitation.

During the construction activities, roads from the National Road Infrastructure will be used. Hence there is no need of construction of temporary roads for the equipment transportation. The pressure pipeline will be built and buried in a trench along the riverbank up till the water intake of the SHPP. Thereafter, the land will be re-cultivated and the requirements of this ordinance met. More small –size construction equipment will be used which is even more beneficial for the environment.

Cherna Mesta

Art.11 of this ordinance, which refers to the environmental protection and concerns the SHPP Cherna Mesta construction, states that routes of derelict channel, routes, etc. are subject to rehabilitation.

During the construction activities, roads from the National Road Infrastructure will be used. Hence there is no need of construction of temporary roads for the equipment transportation. The pressure pipeline will be built and buried in a trench along the riverbank up till the water intake of the SHPP. Thereafter, the land will be re-cultivated and the requirements of this ordinance met. More small –size construction equipment will be used which is even more beneficial for the environment.

ad 10) Ordinance No. 9 for technical exploitation of electric power plants and networks (State Gazette, No. 72 from 19.08.2004)

Losziata

On the basis of resolution about the necessity of implementing an EIA, the obtained license and permits from the respective authorities, and presented to EnCon Services Ltd by SHPP Loziata, the investment project conforms to the requirements of the above mentioned laws and ordinance.

Byala Mesta

On the basis of resolution about the necessity of implementing an EIA, the obtained license and permits from the respective authorities, and presented to EnCon Services by SHPP Byala Mesta, the investment project conforms to the requirements of the above mentioned laws and ordinance.

Cherna Mesta

On the basis of resolution about the necessity of implementing an EIA, the obtained license and permits from the respective authorities, and presented to EnCon Services by SHPP Cherna Mesta, the investment project conforms to the requirements of the above mentioned laws and ordinance.

F.2.	If environmental impacts are considered significant by the project participants or the host Party, please provide conclusions and all references to support documentation of an environmental impact assessment undertaken in accordance with the procedures as required by the host Party:

There has been no environmental impact considered as significant by the host party. There is no need for additional monitoring (e.g. environmental effects) by the authorities.

SECTION G. 	Stakeholders’ comments

G.1.	Brief description how comments by local stakeholders have been invited and compiled:

Local stakeholders have been invited to comment the project during the procedure for permit issue for water use and surface water project use.

Description of of procedure for permit issue for water use and surface water project use for SHPP Cherna Mesta and SHPP Byala

Due to the location of SHPP Cherna Mesta and SHPP Byala Mesta in the territory of Blagoevgrad Municipality, all procedures described below have been performed at the same time by the companies Cherna Mesta Ltd and Byala Mesta Ltd. The procedures have one objective – issuing of a document – permit for water use and use of surface water project. The permit regulates the purpose for the water use and use of the surface water project and is issued by the Director of the Basin Department (BD) in accordance with Art. 52, para (1), point 3 of the Water Act.

The procedure for permit issue for water use and surface water project use of SHPP Cherna Mesta and SHPP Byala Mesta includes three stages:

Stage 1: Application acceptance

Cherna Mesta Ltd and Byala Mesta Ltd have submitted an application to the Director of the Basin Department – Art. 61 with the required data as per Art. 56 of the Water Act.

Stage 2: Request assessment, starting of the procedure for permit issue for water use and water project use and public announcement in Yakoruda Municipality.

- Within one month from the date of the application acceptance and the respective correction of defects, the Director of the Basin Department estimates the request according to Art. 62, paragraph (1) of the Water Act.

- Within 7 days, after the expiry of the one month period regarding the request assessment according to Art. 62, paragraph (2) of the Water Act and at given positive statement on the EIA (Environmental Impact Assessment), and in case there are no reasons for refusal according to Art. 62, paragraph (4) of the Water Act, the Director of the Basin Department sends to the Municipal Administration of Yakoruda town, Blagoevgrad region - the location of the water use and use of water projects, a copy of the accepted application and data for the place for submission of requests and objections of persons concerned, for public announcing through display in the defined for these purposes places in the town-hall.

- According to Art. 64, paragraph (1) of the Water Act, within one month from the date of the announcement according to Art. 64, paragraph (1) of the Water Act, the persons concerned:

  - Have not required the same or analogy to the declared permit

  - Have not objected to the issue of the permit

  - Have not offered terms for issue of the permit in regards to guaranteeing personal and public interests

Cherna Mesta Ltd and Byala Mesta Ltd have received the approval of Yakoruda Municipality and of the public of Yakoruda town for water use and use of water projects after the expiry of the one-month period.

Stage 3: Water use and water project use announcement, application for the issue of a permit, documents revision and decision taking.

- After the expiry of the one-month period according to Art. 64, para. (1) of the Water Act, within 7-day period, according to Art. 65, para (2) of the Water Act, the Director of the Basin Department announces the water use and the water project use.

- According to Art. 66, para (1) of the Water Act, Cherna Mesta Ltd and Byala Mesta Ltd submit an applications with the necessary data in compliance to Art. 56, para. (1), point 1-2 of the Water Act and a feasibility study, in which are defined: purpose of the water use and water projects use; the requested water amount; water use regime; scheme and boundaries of the water project or its sections, which are requested for water use, including the necessary maps and sketches; basic technical parameters of the project facilities; land area, needed for the construction and list of lands, which are going to be influenced by the facilities construction; and others, within two-month period from the date of the announcement according to Art. 65, para .(2) of the Water Act.

The contents of the feasibility study have to comply with the requirements of Art. 66, para (1), point 1 of the Water Act and Ordinance No. 4/21.05.2001, SG - issue 51/05.06.2001 “Regarding the range and contents of the investment projects”.

- Within one-month period from the date of the feasibility study submission, the Director of the Basin Department rules, and issues in accordance with Art. 67, para (1) of the Water Act a permit for water use and water project use.

- During the one-month period of the announcement in the respective Municipality, no proposals for terms for issuing of the permit in regards to guaranteeing personal or public interests, according to Art. 64, para (1), point 3 of the Water Act, were placed.

After the implementation of the above-described procedure, Cherna Mesta Ltd and Byala Mesta Ltd acquired permits for water use.

Description of of procedure for permit issue for water use and surface water project use for SHPP Loziata

SHPP Loziata is situated in Plovdiv region, Rhodope Municipality and all described procedures below have been performed by Brestiom Jsc. The procedures require issue of a document - permit for water use and surface water project use. The permit regulates the purpose for the water use and use of surface water project and is issued by the Director of the Basin Department according to Art. 52, paragraph (1), section 3 of the Water Act.

The procedure for permit issue for water use and surface water project use of SHPP Loziata includes three stages:

Stage 1: Application acceptance

Brestiom Jsc has submitted an application to the Director of the Basin Department – Art. 61, and Art. 56 of the Water Act.

Stage 2: Request assessment, starting of the procedure for permit issue for water use and water project use and public announcement in Brestovitza Municipality.

- Within one month from the date of the application acceptance and the respective correction of defects, the Director of the Basin Department estimates the request according to Art. 62, paragraph (1) of the Water Act.

- Within 7 days, after the expiry of the one month period regarding the request assessment according to Art. 62, paragraph (2) of the Water Act and at given positive statement on the EIA (Environmental Impact Assessment), and in case there are no reasons for refusal according to Art. 62, paragraph (4) of the Water Act, the Director of the Basin Department sends to the Municipal Administration of Brestovitza village, Plovdiv region - the location of the water use and use of water projects, a copy of the accepted application and data for the place for submission of requests and objections of persons concerned, for public announcing through display in the defined for these purposes places in the town-hall.

- According to Art. 64, paragraph (1) of the Water Act, within one month from the date of the announcement according to Art. 64, paragraph (1) of the Water Act, the persons concerned:

  - Have not required the same or analogy to the declared permit

  - Have not objected to the issue of the permit

  - Have not offered terms for issue of the permit in regards to guaranteeing personal and public interests

Brestiom Jsc has received the approval of Rhodope Municipality and of the public of village Brestovitza for water use and use of water projects after the expiry of the one-month period.

Stage 3: Water use and water project use announcement, application for the issue of a permit, documents revision and decision taking.

- After the expiry of the one-month period according to Art 64 , para. (1) of the Water Act, within 7-day period, according to Art. 65, para (2) of the Water Act, the Director of the Basin Department announces the water use and the water project use.

- According to Art.66, para (1) of the Water Act, Brestiom Jsc submits an application with the necessary data in compliance to Art. 56, para. (1), point 1-2 of the Water Act and a feasibility study, in which are defined: purpose of the water use and water project use; the requested water amount; water use regime; scheme and boundaries of the water project or its sections, which are requested for water use, including the necessary maps and sketches; basic technical parameters of the project facilities; land area, needed for the construction and list of lands, which are going to be influenced by the facilities construction; and others, within two-month period from the date of the announcement according to Art. 65, para .(2) of the Water Act.

The contents of the feasibility study have to comply with the requirements of Art. 66, para (1), point 1 of the Water Act and Ordinance No. 4/21.05.2001, SG- issue 51/05.06.2001 “Regarding the range and contents of the investment projects”.

- Within one-month period from the date of the feasibility study submission, the Director of the Basin Department rules, and issues in accordance with Art. 67, para (1) of the Water Act a permit for water use and water project use.

- During the one-month period of the announcement in the respective Municipality, no proposals for terms for issuing of the permit in regards to guaranteeing of personal or public interests, according to Art. 64, para (1), point 3 of the Water Act, were placed.

After the implementation of the above-described procedure, Brestiom Jsc acquired a permit for water use.

G.2.	Summary of the comments received:

Cherna Mesta Ltd and Byala Mesta Ltd have received the approval of Yakoruda Municipality and of the public of Yakoruda town for water use and use of water projects.

Brestiom Jsc has received the approval of Rhodope Municipality and of the public of village Brestovitza for water use and use of water projects.

G.3.	Report on how due account was taken of any comments received:

No action was required.

UAnnex 1

CONTACT INFORMATION ON PARTICIPANTS IN THE PROJECT ACTIVITY

Project Owner

Each of the projects has assigned the GHG emission reduction rights to Brestiom to allow one party to aggregate and optimize the GHG emission reduction asset. The revenues to be generated by the sale of the GHG emission reductions shall be redistributed to the project companies by Brestiom.

Contact:

Philip Fotev

Brestiom PLC, 11 Pozitano Street, Sofia, Bulgaria

TUfotev@cablebg.netUT

The Government of Bulgaria:

Mrs. Ivona Grozeva – Head of JI Projects Sector and National Focal Point on Climate Change on Prototype Carbon Fund 

Тel.: +359-2-940 6101 
Fax: +359-2-981 6610 
E-mail: TUji_grozeva@moew.government.bgUT

- U

    - Annex 2

INFORMATION REGARDING PUBLIC FUNDING

Upon the project completion and validation by an Independent Energy Expert (IEE) the qualifying borrowers receive an Incentive Payment, calculated as a percentage of the Principal amount of the approved and disbursed loan under BEERECL. BEERECL was designed using funding from the Kozloduy International Decommissioning Support Fund. (TUhttp://www.beerecl.com/UT)

TP?PT  www.ucl.ac.uk

TP?PT  Ministry of Energy and Energy Rsources, http://www.doe.bg/cgi-bin/i.pl?l=2&p=652

TP?PT  Ministry of Energy and Energy Rescources, http://www.doe.bg

TP?PT NEK EAD, Annual Report 2004

TP?PT Sources: NEK, Bulgarian Energy Agency

TP?PT  REUP No. 24,33 and 34